ATTACHMENT #7b - PROGRAM ACCESSIBILITY SELF - EVALUATION

SECTION 504 COMPLIANCE

- After June 2, 1980, agencies/services must be accessible to individuals with disabilities to be eligible for federal funding.  This regulation applies to both service and employment opportunities.  Therefore, an agency must be in compliance with Section 504 of the Rehabilitation Act of 1973.  The checklist below indicates which of the American National Standards Institute’s (ANSI) standards are/are not met by the facilities used to provide services.   Negative responses indicate non-compliance.

SITE Name & Location of Proposed Onsite:

__________________________________________

__________________________________________

  - OFF STREET PARKING

    - Can parking spaces be reserved for individuals with disabilities?

Yes          	No

    - If yes, are the spaces at least 12" wide by 19" long?	Yes          No  ____

What are the dimensions?

    - Is the distance from the parking area smooth and hard (no sand, gravel, etc.)? Yes          No ____

    - Is the distance from the parking area to the building free of curbs that are not ramped? Yes          No _____

B.	STAIRS AND RAMPS

1.	How many steps are there in the approach to the selected entrance?

- Can a ramp of non-skid material be installed?  Yes          No ____

- Is the ramp at least 48" wide?  Yes          No ____

- Is there a level surface at the top of the ramp at least 5"x5"?

Yes          No ____

5.	Is the ramp made of non-skid materials?  Yes          No ______

6.	Does the ramp have a grade of 1" in 12"?  Yes          No  ______

7.	Is there a sturdy 32" high railing alongside the ramp?  Yes          No ____

Height                   (In areas of heavy traffic two railings should be provided).

C.	DOORS

All doors should be at least 30" - 34" wide.  Please state the dimensions of the entrance door and any other doors that an individual with a disability will have to move through.  Measure the doorway with the door open   __________________

State also whether the door you are measuring is manual, automatic, or revolving

.

D	1.	Is there an elevator in the building?	Yes          No ____

2.	Is the elevator near the accessible entrance? Yes          No ______

3.	Does the elevator stop on all floors?	Yes          No ______

4,	Is the elevator automatic? Yes          No _____

5. 	If so, is an elevator operator present? Yes          No _____

6.	At what height from the floor of the elevator is the uppermost button that must be used?  _________

- Is the doorway to the elevator at least 32" wide? Yes          No ____

- Is the depth of the elevator at least 36"x 60"? Yes          No  _____

E	RESTROOMS

1.	Is the approach to the restrooms free of stairs?

Men’s: Yes          No  ____

Women’s: Yes          No _____

2. 	If no, can a ramp be installed at the entrance of each restroom? Yes ____         No ____

- Is there enough space for a wheelchair to turn around inside each restroom? Yes          No ______

- Does one of the stalls in each restroom measure at least 36"x60"?

Men’s: Yes          No            	Measurement:

Women’s: Yes          No             Measurement:

- Does the stall door swing outward?

Men’s: Yes          No  ______

Women’s: Yes          No  _____

- If yes, does the stall door have a clearance of at least 32"?

Men’s: Yes          No            . Clearance

Women’s: Yes          No             . Clearance

- Does the same stall have grab bars on each side? Yes          No ____

- If yes, do the grab bars meet the following dimensions?

  - An outside diameter of 1 ½ “? Yes          No  _____

  - 33" - 36"above and parallel to the floor? Yes          No _____

  - A clearance from the wall of 1 ½" Yes          No ______

- Is the water closet in each restroom 20" from the ground? Yes ___  No __

- Are the sinks 29" from the ground? Yes         No            .  Height              *

*With respect to the sinks that are higher than 29" from the ground/floor, they must be usable by individuals in wheelchairs.  In addition, if the sink is higher than 29" from the ground/floor and is not enclosed in a cabinet or does not have any other type of protection for prevention of leg burn, then the drain pipe(s) and hot-water pipe(s) must be covered or insulated so that a wheelchair user will not burn himself.

- Describe your plans to either eliminate existing barriers and/or to relocate services to make them accessible to individuals with a disability, including expected date of completion and source of funding to accomplish your plan.

___________________________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________

__________________________________________________________________